## Sheet1
platform | item | minimum_stock_level | cat_no. | expiration | lot # | Tests_per_Cart | quantity | location | shelf | order_unit | removed_date
Alinity C | 1 mL Syringe (unit = each syringe) | 4 | 09D4103 |  |  |  | 15 | Black Cabinet | 4, box3 | 4 syringes per bag
Alinity I | 25-OH Vitamin D Reagent Kit (unit = cartridge: 100 reactions per cartridge) | 1 | 08P4522 | 2026-01-04 | 68534UD03 |  | 2 | Fridge2 | 2, Blue Tray | 2 cartridges per kit
Globe Scientific | 50 ml Grauated Cyliner (each) | 0 | 602562 |  | T23S01261-0-23/06 | 1 | 1 | ESR Bench Drawer
Alinity C | Acid Probe Wash (unit = cartridges) | 5 | 01R6070 | 2025-09-14 | 10403UN24 | 10 per box | 13 | Glass Cabinet | 1 | 10 cartridges per box
Alinity C | Acid Probe Wash (unit = cartridges) |  | 01R6070 | 2026-05-27 | 14431UN25 | 10 per box | 10 | Glass Cabinet | 1 | 10 cartridges per box
Alinity C | Acid Probe Wash (unit = cartridges) |  | 01R6070 | 2026-07-21 | 25548UN25 | 10 per box | 10 | Glass Cabinet | 1 | 10 cartridges per box
Alinity C | Acid Wash (unit = bottle: 500ml per bottle) | 2 | 08P7740 | 2026-07-07 | 01753UN25 | 500ml/bottle | 4 | Black Cabinet | 1 | 2 bottles per box
Alinity C | Acid Wash (unit = bottle: 500ml per bottle) |  | 08P7740 | 2026-08-08 | 30278UN25 | 500ml/bottle | 8 | Black Cabinet | 1 | 2 bottles per box
Alinity C | Albumin BCP Reagent (unit = cartridge: 345 reactions per cartridge) | 2 | 08P0320 | 2025-10-29 | 74818UN24 | 10x345 tests | 10 | Glass Cabinet | 1 | 10 cartridges per box
Alinity I | Alinity Reaction Vessles (unit = bag: 500 vessels/ bag) | 8 | 07C15-03 |  | 000868822 | 500/bag | 35 | RT |  | 8 bags per box | 2025-08-15
Alinity C | Alkaline Wash (unit = bottle: 500ml per bottle) | 2 | 08P7840 | 2025-12-20 | 35662UN24 | 500ml | 2 | Black Cabinet | 1 | 2 bottles per box
Alinity C | Alkaline Wash (unit = bottle: 500ml per bottle) |  | 08P7840 | 2026-07-29 | 3026UN25 | 500ml | 1 | Black Cabinet | 1 | 2 bottles per box
Alinity C | ALKP Reagent (unit = cartridge: 400 reactions per cartridge) |  | 08P2020 | 2026-01-04 | 86031UN23 | 10x400 | 7 | Fridge1 | 1 | 10 cartridges per box
Alinity I | ALT2 Reagent (unit = cartridge: 300 reactions per cartridge) | 2 | 04T8420 | 2025-11-30 | 64394UD00 | 4x300 | 6 | Fridge1 | 1 | 4 cartridges per box
Alinity I | Anti HBc IgM Calibrator (1 kit) |  | 07P8602 | 2025-11-17 | 70310BE00 | 1 unit | 2 | Fridge2 | Drawer1 | 1 kit
Alinity C | Anti HBc M Control (1kit) | 1 | 07P8612 | 2025-10-09 | 68157BE00 | 1 unit | 1 | Fridge2 | Drawer2 | 1 kit
Alinity I | Anti HCV Reagent Kit (unit = cartridge: 100 reactions per cartridge) | 1 | 08P0521 | 2025-12-02 | 72245BE00 | 100 tests/cart | 1 | Fridge2 | 3, Blue Tray | 2 cartridges per box
Alinity | Anti-TPO Calibrator (1 kit) | 1 | 09P3501 | 2026-06-06 | 62499UN24 |  | 1 | Fridge2 | Drawer1 | 1 kit
Alinity I | Anti-TPO Reagent Kit (unit = cartridge: 100 reactions per cartridge) | 1 | 09P3521 | 2026-03-19 | 71203FZ00 |  | 1 | Fridge2 | 2, Blue Tray | 2 cartridges per box
Alinity C | Bilirubin Calibration Kit (1 kit) | 1 | 08P6101 | 2026-04-30 | 00630FD01 | 3x5 ml | 1 | Fridge1 | 4 | 1 kit
Alinity I | Billirubin Total Reagent (unit = cartridge: 275 reactions per cartridge) | 1 | 45V5121 | 2025-11-30 | 6648UQ06 | 10x275 | 4 | Fridge1 | 1 | 10 cartridges per box
McKesson | Biohazard Infections Waste Sharps Containers | 20 | 065 |  | 4003763 | 1 Quart Red | 70 | near Fridge3
Alinity C | Calibrator/Control Replacement Caps | 90 | 04R1001 |  | CI44636 | 100/box | 2 00 | Black Cabinet | 4
Alinity C | Chol Reagent (unit = cartridge: 400 reactions per cartridge) | 2 | 07P7620 | 2026-04-16 | 77019UN24 | 10x400 | 8 | Fridge1 | 1 | 10 cartridges per box
Alinity C | Chol Reagent (unit = cartridge: 400 reactions per cartridge) |  | 07P7620 | 2026-06-10 | 88036UN24 | 10x400 | 8 | Fridge1 | 1 | 10 cartridges per box
Alinity I | CO2 Calibrator (1 kit) | 1 | 08P7201 | 2025-11-19 | 73504FD01 | 3x3 ml | 3 | Fridge1 | 4 | 1 kit
Alinity I | CO2 Reagent (unit = cartidge: 300 reactions per cartridge) |  | 07P7220 | 2026-03-31 | 67853UQ02 | 10x300 | 10 | Fridge1 | 1 | 10 cartridges per box
Alinity I | Concentrated Wash Buffer (unit = bottle: 2 litre per bottle) | 2 | 06P1368 | 2026-03-09 | 75343FZ00 | 2L/bottle | 4 | Black Cabinet | 3 | 2 bottles per box
Alinity C | Consolidated Chemistry Calibrator (1 kit) | 2 | 04V6201 | 2026-11-28 | 001361UE | 6x5 ml | 8 | Fridge1 | 4 | 1 kit
Alinity | Coolant (0.5 gallon) | 1 | 10003055-102 | 2028-10-31 | DY7225 | 1/2 gallon | 1 | Black Cabinet | 4
McKesson | Cotton-Tipped Applicators (unit = box, 200 applicators per box) | 5 |  |  |  |  | 10 | Back Room
McKesson | Cotton-Tipped Applicators (unit = box, 200 applicators per box) |  | 24-106-2S |  | CRBD10-27 | 100 packs/box | 11 | ESR Bench Drawer
Alinity C | Creatinine Reagent Kit (unit = cartridge: 300 reactions per cartridge) | 5 | 07P9920 | 2026-01-24 | 36585UN24 | 10x300 tests | 2 | Glass Cabinet | 1 | 10 cartridges per box
Alinity C | Creatinine Reagent Kit (unit = cartridge: 300 reactions per cartridge) |  | 07P9921 | 2026-01-24 | 74203UN24 | 10x300 test | 10 | Glass Cabinet | 1 | 10 cartridges per box
Alinity I | CRP Reagent (unit = cartridge: 290 reactions per cartridge) | 5 | 07P5621 | 2025-12-31 | 31339Y600 | 10x290 | 6 | Fridge1 | 1 | 10 cartridges per box
Validate | CRP Vario High Sensitivity Calibrator Kit (1 kit) | 1 | 07P5604 | 2026-07-31 | 41322Y600 |  | 1 | Fridge1 | 4 | 1 kit
Alinity C | Cuvette Segment (1 unit) | 1 | 04S4701 |  | SZ691193711 |  | 1 | Black Cabinet | 1 | 1 unit
| Detectable Liquid Control UrineDrug Evaluation Panel Box1:Sample 1-to10 Box2: 11-to 20 | 5 | 26657 | 2026-07-31 | KN00593 |  | 10 | -22C
Alinity C | Detergent A (1 cartridge) |  | 08P9670 | 2026-04-08 | 67671UQ01 | 10 carts/case | 19 | Glass Cabinet | 2 | 10 cartridges per box
Alinity C | Detergent A (1 cartridge) |  | 08P9670 | 2026-06-24 | 68051UQ03 | 10 carts/case | 20 | Glass Cabinet | 2 | 10 cartridges per box
Alinity C | Detergent B (1 cartridge) | 10 | 08P9781 | 2025-10-23 | 65450UQ01 | 10 per box | 13 | Glass Cabinet | 2 | 10 cartridges per box
Alinity C | Detergent B (1 cartridge) |  | 08P9781 | 2027-01-01 | 68116UQ01 | 10 per box | 10 | Glass Cabinet | 2 | 10 cartridges per box
McKesson | Disposable Lab Coats Blue (1 unit) | 5 | 34181200 |  | CXXE01-05 | 10/bag | 7 | ESR Bench Drawer
Globe Scientific | ESR (Erythrocyte Sedimentation Rate) (unit = box: 100 pipettes per box) | 1 | 3469 | 2026-05-26 | 240580 | 100 pipettes/box | 2 | Black Cabinet | 1 | 100 pipettes per box
Alinity I | Free T3 Cals (1 kit) | 1 | 07P6901 | 2025-10-19 | 73318UD00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 unit
Alinity CI | Free T3 Reagent Kit (unit = cartridge: 100 reactions per cartridge) | 1 | 07P6920 | 2025-11-03 | 71089UD00 | 100 tests/cart | 2 | Fridge2 | 2, Blue Tray | 2 cartridges per box
Alinity C | Free T4 Cals (1 kit) | 1 | 07P7001 | 2026-01-17 | 66007UD00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 kit
Alinity I | Free T4 Reagent Kit (unit = cartridge: 100 reactions per cartridge) | 1 | 07P7020 | 2025-10-09 | 68517UD01 |  | 2 | Fridge2 | 2, Blue Tray | 2 cartridges per box
Validate | GC1 Test Set | 2 | 1100ab | 2026-02-06 | 10691473 |  | 16 | -22C
Alinity C | Glucose Reagent (400 reactions per cartridge) | 2 | 07P5520 | 2025-09-30 | 65460UQ01 | 10x400 | 15 | Fridge1 | 2 | 10 cartridges per box
Validate | HA1C Calibrator (1 kit) | 1 | 08P4301 | 2025-10-26 | 67181UQ10 |  | 1 | Fridge1 | 4 | 1 kit
Alinity I | HAV Ab IgM Callibrator (1 kit) | 1 | 08P2801 | 2025-12-10 | 71067BE00 | 1 unit | 2 | Fridge2 | Drawer1 | 1 kit
Alinity I | HAVAb IgM Reagent Kit (unit = cartridge: 100 reactions per cartridge) |  | 08P2821 | 2025-09-18 | 68528BE00 |  | 1 | Fridge2 | 3, Blue Tray | 2 cartridges per box
Alinity C | HbA1C Reagent (unit = cartridge: 260 reactions per cartridge) | 1 | 08P4320 | 2025-09-12 | 66794UQ06 | 5x260 | 8 | Fridge1 | 2 | 5 sets per box
Alinity I | HBs Ag Qual Calibrator (1 kit) | 1 | 08P1002 | 2025-08-28 | 72189FZ00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 kit
Alinity I | HIV Ag/Ab combo Calibrator (1 kit) | 1 | 08P0702 | 2025-10-02 | 72280BE00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 kit
Alinity I | HIV Ag/Ab Combo Controls (1 kit) |  | 08P0712 | 2025-11-13 | 73457BE00 |  | 1 | Fridge2 | Drawer2 | 1 kit
Alinity I | HIV Ag/Ab Combo Reagent Kit (unit = cartridge: 100 reactions per cartridge) | 1 | 08P0721 | 2025-12-17 | 76072BE00 |  | 1 | Fridge2 | 3, Blue Tray | 2 cartridges per box
Alinity C | ICT Reference Solution (975 mL per bottle) | 3 | 08P76 | 2025-10-15 | 877UN24 | 975ml/bottle | 8 | Black Cabinet | 2
Alinity C | ICT Reference Solution Check Valve (package, 1 per package) | 2 | 09D3503 |  |  | 1/pkg | 1 | Black Cabinet | 4, box3
Alinity C | ICT Sample Diluent (carts) | 4 | 07P5320 | 2025-11-07 | 36129UN23 | 10 carts/ case | 5 | Glass Cabinet | 2 | 10 cartridges per box
Alinity I | ICT Serum Calibrator (2 calibrators per set) | 4 | 08P6901 | 2026-05-10 | 25047UN24 | 5x2.9 ml | 1 | Glass Cabinet | Top | 5 sets per box
Alinity I | ICT Serum Calibrator (2 calibrators per set) |  | 08P6901 | 2026-07-14 | 25047UN25 | 5x2.9 ml | 10 | Glass Cabinet | Top | 5 sets per box
Triage | KOVA-TROL I High Abnormal with Urobilinogen | 1 | 87334 | 2026-06-30 | K306750-03 |  | 2 | Fridge1 | 3
Alinity C | KOVA-TROL III Normal with hCG | 1 | 87331 | 2025-12-31 | K306732-09 |  | 2 | Fridge1 | 3
Milli-Q | Large 2 Tube EDI Production Flow Adjust (1 per bag) | 1 | ZF3000722 |  | F4BB08773 | 1/bag | 2 | Back Room |  | 1 per bag
Milli-Q | Large 2 Tube EDI Reject Flow Adjust Assy (1 per bag) | 1 | ZF3000712 |  | F4AB02677 | 1/bag | 2 | Back Room |  | 1 per bag
Milli-Q | Large 2 Tube EDI Rejet Flow Adjust 5PSI (1 per bag) | 1 | ZF3000723 |  | F3SB95535 | 1/bag | 2 | Back Room |  | 1 per bag
Alinity I | Level Sensor Bulk Solution (1/pkg) | 1 | 04S6804 |  |  |  | 2 | Glass Cabinet | 3 | 1 per package
Alinity I | Level Sensor Diluted Wash Buffer (1ml per vial) | 1 | 04S6902 |  |  |  | 2 | Glass Cabinet | 3 | 1 mL per vial
Alinity C | Lipid MC Calibrator (unit = vial) | 5 | 09P1403 | 2026-12-28 | 3106CH | 6x1 ml | 9 | Fridge1 | 4 | 6 vials per box
WDF | Lysecll WDF (5 litre per bottle) | 1 | ZA900001 | 2026-02-20 | Y5008 | 5L | 1 | Black Cabinet | 5 | 1 unit
Alinity I | Maintenance Cleaning Cartridge (1 unit) | 1 | 02R5250 | 2045-12-31 | 73017MM00 | 2cart/box | 2 | Black Cabinet | 4 | 2 cartridge per box
Alinity I | Maintenance Solution (1 cart) | 1 | 08P9871 | 2026-03-03 | 67541UQ12 | 10 carts/case | 11 | Black Cabinet | 2 | 1 cartridges per box
| McKesson Data logging thermometer ultra low dual probe | 1 | MCK8019UL |  |  |  | 2 | Black Carbinet | 3, shelf | 1 unit
Alinity I | Microalbumin Calibrators (1 kit) | 1 | 08P0404 | 2026-05-08 | 67143UD00 | one set (cal 1-5) | 1 | Fridge1 | 4 | 1 kit
Alinity C | Microalbumin Reagent (unit = cartridge: 320 reactions per cartridge) | 1 | 08P0424 | 2026-04-11 | 66362UD00 | 2x320 | 1 | Fridge1 | 2 | 2 cartridges per box
Alinity C | Microalbumin Reagent (unit = cartridge: 320 reactions per cartridge) |  | 08P0424 | 2026-11-08 | 73003UD00 | 2x320 | 2 | Fridge1 | 2 | 2 cartridges per box
| Microscope slides plain 25 mm x 75 mm x 1 mm, 72 per box | 1 | 16-7131 |  |  |  | 2 | Black Carbinet | 3, shelf | 72 slides per box
Alinity C | Mixer (1/pkg) | 1 | 09D5904 |  | SZ70001008 | 2/pkg | 2 | Black Cabinet | 4, box1 | 2 units per box
Alinity C | Multichem A1C control Technopath (each vial) | 3 | 04V0610 | 2025-09-30 | A3210230 | 6 vials (1 ml each) | 7 | -80C |  | 6 vials per box
Alinity C | Multichem IA Plus 1,2,3 Control (1 set) | 2 | 08P88-10 | 2026-03-31 | 32411230 | 4 VIALS each level | 4 | -80 |  | 4 sets per box
Technopath | Multichem IA Plus 2 (one glass vial) | 2 | 08P86-10 | 2026-03-31 | 032411230 |  | 7 | -80C
Technopath | Multichem IA Plus 3 (one glass vial) | 2 | 08P86-10 | 2027-11-30 | 034012240 |  | 4 | -80C
Technopath | Multichem S Plus Control 1 (one glass vial) | 2 | 08P88-10 | 2025-12-31 | 0135062301 |  | 20 | -80C
Technopath | Multichem S Plus Control 2 (one glass vial) | 2 | 08P88-11 | 2025-12-31 | 0135062302 |  | 12 | -80C
Technopath | Multichem S Plus Control 2 (one glass vial) | 2 | 08P88-11 | 2028-03-30 | 0157042502 |  | 12 | -80C
Technopath | Multichem S Plus Control 3 (one glass vial) | 2 | 08P88-12 | 2025-12-31 | 0135062303 |  | 12 | -80C
Technopath | Multichem U | 2 | 05P80-10 | 2026-05-31 | 29005240 |  | 5 | Fridge1 | 4
Alinity C | Multiconstituent Calibrator (MC Cal) | 2 | 08P6001 | 2026-03-18 | 12362FD01 | 3x2.5 ml | 2 | Fridge1 | 4
Alinity C | Multiconstituent Calibrator (MC Cal) |  | 08P6001 | 2026-08-09 | 28939FD01 | 3x2.5 ml | 4 | Fridge1 | 4
McKesson | Nitrile Exam Gloves Powder Free Large (200 gloves per box) | 5 | 14-6978C |  | MKOD11-11 | 200 gloves/bo | 7 | ESR Bench Drawer
McKesson | Nitrile Exam Gloves Powder Free Medium (200gloves per box) | 5 | 14-6976C |  | MKOD11-11 | 200 gloves/bo | 9 | ESR Bench Drawer
Medline | Normal Saline (Sterile 0.9%), 100 mL per bottle | 4 | RDI30296 | 2026-11-11 | 24118720 | 100ml | 8 | Black Cabinet | 2
Alinity I | Pipettor Probes (one unit) | 2 | 03R9602 |  | FF512 | 2 per box | 3 | Black Cabinet | 4, box2 | 2 units per box
| Premium microscope slides frosted, Mckesson 25 mm x75 mm x 1mm. 72 per box | 1 | 70-105PMCK |  |  |  | 2 | Black Carbinet | 3, shelf | 72 slides per box
Alinity | Pre-Trigger Solution (975 mL per bottle) | 5 | 06P1270 | 2025-12-11 | 71404FZ00 | 975ml | 17 | Fridge2 | 2, Shelf
Milli-Q | Q-Gard XL-4 (one unit) | 1 | QGARDTXL04 |  | F4AB04907 | 1 unit | 1 | Back Room
Alinity I | Reagent Cartidge Black (Large) (1 unit) | 2 | 04S1750 | 2045-12-31 | 31317Y600 | 10 carts/case | 10 | Black Cabinet | 4 | 10 cartridges per box
Alinity I | Reagent Cartidge Clear (Large) (1 unit) | 2 | 04S1740 | 2045-12-31 | 61004MM00 | 10 carts/case | 3 | Black Cabinet | 4 | 10 cartridges per box
Alinity I | Reagent Cartidge Clear (Large) (1 unit) | 2 | 04S1740 | 2045-12-31 | 59042MM00 | 10 carts/case | 30 | Black Cabinet | 4 | 10 cartridges per box
Alinity C | Reagent Replacement Caps, box (100 caps per box) | 50 | 04R4701 |  | CI44688 | 100/box | 200 | Black Cabinet | 4
Alinity C | Reagent Syinge O-Ring (1 unit per bag) |  | 09D5303 |  |  | 1 unit | 1 |  |  | 1 unit per bag
Alinity C | Reagent Syringe O-Ring (1 unit per bag) | 6 | 09D5303 |  |  |  | 20 | Black Cabinet | 4, box3 | 1 unit per bag
Alinity C | Reagent Syringe Seal Tip 1 (one unit) | 6 | 09D3904 |  |  |  | 1 2 | Black Cabinet | 4, box3 | 3 units per bag
Alinity C | Reagent Syringe Seal Tip 2 (one unit) | 6 | 09D4004 |  |  |  | 12 | Black Cabinet | 4, box3 | 4 units per bag
Lab Guard Aptima | Reclosable Specimen Bags (box) | 10 | 6095719 | 2026-11-30 | 911360 |  | 10 | ACC Drawer
Lab Guard Aptima | Reclosable Specimen Bags (box) |  | 6095719 | 2027-03-31 | 918444 |  | 10 | ACC Drawer
Alinity C | Rheumatoid Factor Calibrator (1 kit) | 1 | 04S0002 | 2025-10-27 | 71715LP03 | cal 1-5 | 1 | Fridge1 | 4 | 1 kit
Alinity C | Sample & Wash Solution Syringe ORing (1 unit) | 4 | 09D5203 |  |  | 1/pkg | 8 | Black Cabinet | 4, box3 | 1 unit per bag
Alinity C | Sample & Wash Solution Syringe Seal Tip 1 (1 unit) | 4 | 09D3704 |  |  | 2/pkg | 4 | Black Cabinet | 4, box3 | 2 units per bag
Alinity C | Sample & Wash Solution Syringe Seal Tip 2 (1 unit) | 4 | 09D3803 |  |  | 2/pkg | 8 | Black Cabinet | 4, box3 | 2 units per bag
Alinity C, I | Sample Cups (unit = bag: 250 cups per bag) | 2 | 01R3801 |  | 000912018 | 250/bag | 4 | Back Room |  | 250 cups per bag
Alinity C,I | Sample Cups (unit = bag: 250 cups per bag) |  | 01R3801 |  | 861853 | 250/bag | 6 | ESR Bench Drawer |  | 250 cups per bag
Alinity C | Sample Probe (1 unit) | 1 | 04S5101 |  | SZ70001001 | 1 unit | 1 | Black Cabinet | 4, box2 | each
Alinity C, I | Sample Rack (1 unit) | 5 | 04R5203 |  |  | 10 per box | 10 | Glass Cabinet | 3 | 10 racks per box
Alinity C, I | SH Barcode Tool (1 unit) | 1 | 06E6902 |  |  |  | 2 | Black Cabinet | 4, box2
McKesson | Snap caps Double Thumb TAB Blue 12, 13, 16mm (unit = bag: 1000 caps per bag) | 1 | 177-118115B |  | E112246-33-090824 | 1000/bag | 2 | Back Room | 1000 caps per box | 1000 caps per box
McKesson | Snap caps Double Thumb TAB Lavender 12, 13, 16mm (unit = bag: 1000 caps per bag) | 1 | 177-118115L |  | D112177-37-090724 | 1000/bag | 1 | Back Room | 1000 caps per box | 1000 caps per box
Alinity C | Source Lamp (1 unit) | 2 | 09D4503 |  |  |  | 3 | Black Cabinet | 4, box1
Sysmex | Sulfolyser (SLS) (1 unit, 1.5L) | 1 | BJ-350-971 | 2026-03-09 | A5003 |  | 2 | Black Cabinet | 4, shelf
Alinity C | Syphilis TP Calibrator (1 unit) | 1 | 07P6001 | 2025-09-25 | 69221BE00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 unit
McKesson | Test Tube Polypropylene (PP) 12*75mm /5ml (unit = bag: 1000 tubes per bag) |  | 177-110441 |  | C110830-09-082123 | 1000/bag | 3 | Back Room |  | 1000 tubes per bag
McKesson | Test Tube Polypropylene (PP) 16*100mm /12ml (unit = bag: 500 tubes per bag) |  | 177-111012 |  | D112246-16-093024 | 500/bag | 4 | Back Room |  | 500 tubes per bag
Alinity I | Testosterone calibrator (1 kit) |  | 07P6801 | 2025-11-04 | 12241UP00 | 2 units | 1 | Fridge2 | Drawer1 | 1 unit
Alinity C | Testosterone Reagent Kit 2nd Generation (unit = set of 2 cartridges, 100 reactions per set) | 1 | 07P6821 | 2025-12-06 | 12328UP00 | 100 tests/cart | 3 | Fridge2 | 3, Blue Tray | 2 sets per box
Alinity C | Total Protein 2 reagent (unit = cartridge:200 reactions per cartridge) | 2 | 04T8130 | 2025-08-25 | 65281UD00 |  | 1 | Glass Cabinet | 2 | 4 cartridges per box
Alinity C | Total Protein 2 reagent (unit = cartridge:200 reactions per cartridge) |  | 04T8120 | 2025-12-30 | 69386UD00 | 4x200 tests | 4 | Glass Cabinet | 2 | 4 cartridges per box
Alinity I | Total PSA Calibrator (1 kit) | 1 | 07P9201 | 2025-09-06 | 68163FZ00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 kit
Alinity I | Total PSA Reagent Kit (unit = cartridge:100 reagents per cartridge) | 1 | 07O9221 | 2025-10-09 | 71714FZ00 |  | 4 | Fridge2 | 2, Blue Tray | 2 cartridges per box
Alinity C | Total T4 Reagent Kit (unit = cartridge:100 reactions per cartridge) | 1 | 07P9520 | 2025-11-04 | 70412UD00 | 100 tests/cart | 1 | Fridge2 | 2, Blue Tray | 2 cartridges per box
Alinity C | Tox Drug Screen ( 1 unit) | 5 | 94600 | 2026-02-28 | T155930N |  | 41 | Fridge1 | 3 | 1 unit
Triage | Tox Drug Screen Control1 (1 box) | 1 | 94613 | 2026-01-21 | C4090AN |  | 2 | -22C |  | 1 unit
Triage | Tox Drug Screen Control1 (1 box) | 1 | 94613 | 2026-04-09 | C4016AN |  | 2 | -22C |  | 1 unit
Triage | Tox Drug Screen Control2 (1 box) | 1 | 94614 | 2026-01-23 | C4091AN |  | 4 | -22C |  | 1 unit
McKesson | Transfer Pipettors 7ml, 3ml Draw (unit = box:500 pipettors per box) | 2 | 559 |  | CGDD09-07 | 500/box | 4 | Back Room
Kova | TRIG Reagent (unit = cartridge: 400 reactions per cartridge) | 5 | 07P7720 | 2026-05-18 | 88038UN24 | 10x400 | 6 | Fridge1 | 2 | 10 cartridges per box
Alinity I | Trigger Solution (unit = bottle: 975 mL per bottle) | 4 | 06P1160 | 2025-09-25 | 63147FZ00 | 975ml/bottle | 1 | Black Cabinet | 3
Alinity I | Trigger Solution (unit = bottle: 975 mL per bottle) |  | 06P1160 | 2026-07-12 | 71637FZ00 | 975ml/bottle | 4 | Black Cabinet | 3
Alinity C | TSH Calibrator (1 unit) | 1 | 07P4801 | 2025-09-05 | 67160UD00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 unit
Alinity C | TSH Calibrator (1 unit) |  | 07P4801 | 2026-04-10 | 74310UD00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 unit
Alinity I | TSH Reagent Kit (unit = cartridge:600 reactions per cartridge) | 1 | 07P4830 | 2026-05-04 | 70200UD00 | 600 test/cart | 2 | Fridge2 | 2, Blue Tray | 2 cartridge per box
Alinity I | TSH Reagent Kit (unit = cartridge:600 reactions per cartridge) |  | 07P4820 | 2026-06-17 | 71591UD00 |  | 1 | Fridge2 | 2, Shelf | 2 cartridge per box
Alinity I | TSH Reagent Kit (unit = cartridge:600 reactions per cartridge) |  | 07P4820 | 2026-08-24 | 73537UD00 |  | 2 | Fridge2 | 2, Shelf | 2 cartridge per box
Alinity CI | Ultra HDL Reagent (unit = cartridge: 350 reactions per cartridge) | 2 | 07P7520 | 2026-11-03 | 67328UQ11 | 4x350 | 4 | Fridge1 | 2 | 4 cartridges per box
Alinity C | Ultra HDL Reagent (unit = cartridge: 350 reactions per cartridge) |  | 07P7520 | 2027-01-30 | 67911UQ01 | 4x350 | 4 | Fridge1 | 2 | 4 cartridges per box
Alinity C | Urea Nitrogen Reagent (unit = cartridge: 400 reactions per cartridge) | 2 | 08P1620 | 2025-10-04 | 45875UN23 | 10x400 | 14 | Fridge1 | 2 | 10 cartridges per box
Kova | Uric Acid 2 | 2 | 04U0920 | 2026-03-08 | 70513UD00 |  | 4 | Fridge1 | 2 | 4 cartridges per box
Alinity C, I | Vial Rack (1 unit) | 4 | 04S6402 |  |  | 5 per box | 9 | Glass Cabinet | 3 | 5 racks per box
Globe Scientific | Wash Bottle, Wide Mouth 500ml, LDPE, Round White Screw Cap (1 unit) | 2 | WGW236P |  | P48471 | 1 | 3 | ESR Bench Drawer |  | 1 unit
Alinity I | Wash Cup Baffle (1 unit) | 2 | 04S6202 |  |  |  | 3 | Black Cabinet | 4, box1 | 1 unit