## Sheet1
platform | item | cat_no. | expiration | lot # | Tests_per_Cart | quantity | location | shelf | order_unit
Alinity C | 1 mL Syringe (4 syringes per bag) | 09D4103 |  |  |  | 9 | Black Cabinet | 4, box3 | 4 syringes per bag
Olympus Plastics | 1000 ul Researh Barrier Tip (96tips per unit) | 26-430 | 2024-07-19 | 210719-598-C | 96tips/unit | 5 | near Fridge3 |  | 96tips per unit
Alinity I | 25-OH Vitamin D Reagent Kit (100 reactions per cartridge) | 08P4522 | 2026-01-04 | 68534UD03 |  | 2 | Fridge2 | 2, Blue Tray | 2 cartridges per kit
Alinity I | 25-OH VitD Calibrator (1 set) | 08P4501 | 2025-07-30 | 64447UD00 |  | 1 | Fridge2 | Drawer1 | 1 kit
Globe Scientific | 50 ml Grauated Cyliner | 602562 |  | T23S01261-0-23/06 | 1 | 1 | ESR Bench Drawer
Alinity C | Acid Probe Wash (10 cartridges per box) | 01R6070 | 2025-09-14 | 10403UN24 | 10 per box | 18 | Glass Cabinet | 1 | 10 cartridges per box
Alinity C | Acid Probe Wash (10 cartridges per box) | 01R6070 | 2026-05-27 | 14431UN25 | 10 per box | 10 | Glass Cabinet | 1 | 10 cartridges per box
Alinity C | Acid Probe Wash (10 cartridges per box) | 01R6070 | 2026-07-21 | 25548UN25 | 10 per box | 10 | Glass Cabinet | 1 | 10 cartridges per box
Alinity C | Acid Wash (500ml per bottle) | 08P7740 | 2026-02-11 | 65704UN24 | 500ml/bottle | 1 | Black Cabinet | 1 | 2 bottles per box
Alinity C | Acid Wash (500ml per bottle) | 08P7740 | 2026-08-08 | 30278UN25 | 500ml/bottle | 8 | Black Cabinet | 1 | 2 bottles per box
Alinity C | Albumin BCP Reagent (345 reactions per cartridge) | 08P0320 | 2025-07-16 | 25017UN24 | 10x345 tests | 1 | Glass Cabinet | 1 | 10 cartridges per box
Alinity C | Albumin BCP Reagent (345 reactions per cartridge) | 08P0320 | 2025-10-29 | 74818UN24 | 10x345 tests | 10 | Glass Cabinet | 1 | 10 cartridges per box
Alinity C | Alkaline Wash (500ml per bottle) | 08P7840 | 2025-12-20 | 35662UN24 | 500ml | 2 | Black Cabinet | 1 | 2 bottles per box
Alinity C | Alkaline Wash (500ml per bottle) | 08P7840 | 2026-07-07 | 01753UN24 | 500ml | 4 | Black Cabinet | 1 | 2 bottles per box
Alinity C | Alkaline Wash (500ml per bottle) | 08P7840 | 2026-07-29 | 3026UN25 | 500ml | 2 | Black Cabinet | 1 | 2 bottles per box
Alinity C | ALKP Reagent (400 reactions per cartridge) | 08P2020 | 2026-01-04 | 86031UN23 | 10x400 | 8 | Fridge1 | 1 | 10 cartridges per box
Alinity I | ALT2 Reagent (300 reactions per cartridge) | 04T8420 | 2025-08-07 | 61250UD00 | 4x300 | 3 | Fridge1 | 1 | 4 cartridges per box
Alinity I | ALT2 Reagent (300 reactions per cartridge) | 04T8420 | 2025-11-30 | 64394UD00 | 4x300 | 6 | Fridge1 | 1 | 4 cartridges per box
Alinity I | Anti HBc IgM Cals (1 kit) | 07P8602 | 2025-07-22 | 66260FZ00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 kit
Alinity I | Anti HBc IgM Cals (1 kit) | 07P8602 | 2025-11-17 | 70310BE00 | 1 unit | 2 | Fridge2 | Drawer1 | 1 kit
Alinity C | Anti HBc M Ctrl (1kit) | 07P8612 | 2025-10-09 | 68157BE00 | 1 unit | 1 | Fridge2 | Drawer2 | 1 kit
Alinity C | Anti HCV Cal (1 kit) | 08P0501 | 2025-08-18 | 65517BE00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 kit
Alinity I | Anti HCV Reagent Kit (100 reactions per cartridge) | 08P0521 | 2025-12-02 | 72245BE00 | 100 tests/cart | 1 | Fridge2 | 3, Blue Tray | 2 cartridges per box
Alinity | Anti-TPO Calibrator (1 kit) | 09P3501 | 2026-06-06 | 62499UN24 |  | 1 | Fridge2 | Drawer1 | 1 kit
Alinity I | Anti-TPO Reagent Kit (100 reactions per cartridge) | 09P3521 | 2026-03-19 | 71203FZ00 |  | 1 | Fridge2 | 2, Blue Tray | 2 cartridges per box
Abbot | Architect Reaction Vessels (500 vessels per bag) | 07C15-03 |  | 000868822 | 500/bag | 40 | Back Room |  | 2000 vessels per box
Abbot Lab | Assy-Tubing | 30110174-102 | 2023-05-15 |  |  | 1
Alinity I | AST 2 Reagent kit (300 reactions per cartridge) | 04T8620 | 2025-03-16 | 68410UD00 | 300 | 6 | Fridge1 | 1 | 4 cartridges per box
Alinity C | Bilirubin Calibration Kit (1 kit) | 08P6101 | 2026-04-30 | 00630FD01 | 3x5 ml | 1 | Fridge1 | 4 | 1 kit
Alinity I | Billirubin Total Reagent (275 reactions per cartridge) | 45V5121 | 2025-11-30 | 6648UQ06 | 10x275 | 4 | Fridge1 | 1 | 10 cartridges per box
McKesson | Biohazard Infections Waste Sharps Containers | 065 |  | 4003763 | 1 Quart Red | 70 | near Fridge3
Alinity I | Calcium Reagent (1500 reactions per cartridge) | 07P5730 | 2025-08-20 | 4893UN24 | 10x1500 tests | 9 | Glass Cabinet | 1 | 10 cartridges per box
Alinity C | Calibrator/Control Replacement Caps | 04R1001 |  | CI44636 | 100/box | 2 00 | Black Cabinet | 4
Alinity C | Chol Reagent (400 reactions per cartridge) | 07P7620 | 2026-04-16 | 77019UN24 | 10x400 | 8 | Fridge1 | 1 | 10 cartridges per box
Alinity C | Chol Reagent (400 reactions per cartridge) | 07P7620 | 2026-06-10 | 88036UN24 | 10x400 | 8 | Fridge1 | 1 | 10 cartridges per box
Alinity I | CO2 Calibrator (1 kit) | 08P7201 | 2025-11-19 | 73504FD01 | 3x3 ml | 3 | Fridge1 | 4 | 1 kit
Alinity I | CO2 Reagent (300 reactions per cartridge) | 07P7220 | 2026-03-31 | 67853UQ02 | 10x300 | 10 | Fridge1 | 1 | 10 cartridges per box
Alinity I | Concentrated Wash Buffer (2 litre per bottle) | 06P1368 | 2025-12-04 | 72267FZ00 | 2L/bottle | 2 | Black Cabinet | 3 | 2 bottles per box
Alinity I | Concentrated Wash Buffer (2 litre per bottle) | 06P1368 | 2026-03-09 | 75343FZ00 | 2L/bottle | 4 | Black Cabinet | 3 | 2 bottles per box
Alinity C | Consolidated Chemistry Calibrator (1 kit) | 04V6201 | 2026-11-28 | 001361UE | 6x5 ml | 8 | Fridge1 | 4 | 1 kit
Alinity | Coolant (0.5 gallon) | 10003055-102 | 2028-10-31 | DY7225 | 1/2 gallon | 1 | Black Cabinet | 4
Alinity | Coolant (0.5 gallon) |  |  |  | 1/2 gallon | 1 | Black Cabinet | 4
McKesson | Cotton-Tipped Applicators (200 applicators per box) |  |  |  |  | 10 | Back Room
McKesson | Cotton-Tipped Applicators (200 applicators per box) | 24-106-2S |  | CRBD10-27 | 100 packs/box | 11 | ESR Bench Drawer
Alinity C | Creatinine Reagent Kit (300 reactions per cartridge) | 07P9920 | 2026-01-24 | 36585UN24 | 10x300 tests | 2 | Glass Cabinet | 1 | 10 cartridges per box
Alinity C | Creatinine Reagent Kit (300 reactions per cartridge) | 07P9921 | 2026-01-24 | 74203UN24 | 10x300 test | 10 | Glass Cabinet | 1 | 10 cartridges per box
Alinity I | CRP Reagent (290 reactions per cartridge) | 07P5621 | 2025-12-31 | 31339Y600 | 10x290 | 6 | Fridge1 | 1 | 10 cartridges per box
Validate | CRP Vario High Sensitivity Calibrator Kit (1 kit) | 07P5604 | 2026-07-31 | 41322Y600 |  | 1 | Fridge1 | 4 | 1 kit
Alinity C | Cuvette Dry Tip (1 unit) | 04S5201 | 2024-12-13 |  | 2/pkg | 1 | Black Cabinet | 4, box2 | 2 tips per box
Alinity C | Cuvette Segment (1 unit) | 04S4701 |  | SZ691193711 |  | 1 | Black Cabinet | 1 | 1 unit
| Detectable Liquid Control UrineDrug Evaluation Panel Box1:Sample 1-to10 Box2: 11-to 20 | 26657 | 2026-07-31 | KN00593 |  | 10 | -22C
Alinity C | Detergent A (1 cartridge) | 08P9670 | 2026-04-08 | 67671UQ07 | 10 carts/case | 3 | Glass Cabinet | 2 | 10 cartridges per box
Alinity C | Detergent A (1 cartridge) | 08P9670 | 2026-04-08 | 67671UQ01 | 10 carts/case | 20 | Glass Cabinet | 2 | 10 cartridges per box
Alinity C | Detergent A (1 cartridge) | 08P9670 | 2026-06-24 | 68051UQ03 | 10 carts/case | 20 | Glass Cabinet | 2 | 10 cartridges per box
Alinity C | Detergent B (1 cartridge) | 08P9781 | 2025-10-23 | 65450UQ01 | 10 per box | 14 | Glass Cabinet | 2 | 10 cartridges per box
Alinity C | Detergent B (1 cartridge) | 08P9781 | 1/1/20247 | 68116UQ01 | 10 per box | 20 | Glass Cabinet | 2 | 10 cartridges per box
McKesson | Disposable Lab Coats Blue (1 unit) | 34181200 |  | CXXE01-05 | 10/bag | 7 | ESR Bench Drawer
Globe Scientific | ESR (Erythrocyte Sedimentation Rate) (box: 100 pipettes per box) | 3469 | 2026-05-26 | 240580 | 100 pipettes/box | 2 boxes | Black Cabinet | 1 | 100 pipettes per box
Alinity I | Free T3 Cals (1 kit) | 07P6901 | 2025-10-19 | 73318UD00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 unit
Alinity CI | Free T3 Reagent Kit (100 reactions per cartridge) | 07P6920 | 2025-11-03 | 71089UD00 | 100 tests/cart | 2 | Fridge2 | 2, Blue Tray | 2 cartridges per box
Alinity C | Free T4 Cals (1 kit) | 07P7001 | 2026-01-17 | 66007UD00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 kit
Alinity I | Free T4 Reagent Kit (100 reactions per cartridge) | 07P7020 | 2025-10-09 | 68517UD01 |  | 2 | Fridge2 | 2, Blue Tray | 2 cartridges per box
Validate | GC1 Test Set | 1100ab | 2026-02-06 | 10691473 |  | 16 | -22C
Validate | GC2 Test Set | 1200ab | 2024-11-05 | 10686943 |  | 20 | Fridge1 | 4
Validate | GC3 Test Set | 1300ab | 2025-05-04 | 10662819 |  | 6 | Fridge1 | 4
Validate | GC3 Test Set | 1300ab | 2025-05-04 | 10662819 |  | 6 | -22C
Validate | GC4 Test Set | 1400ab | 2024-12-13 | 10687231 |  | 5 | Fridge1 | 4
Validate | GC4 Test Set | 1400ab | 2024-12-13 | 10687231 |  | 5 | -22C
Alinity C | Glucose Reagent (400 reactions per cartridge) | 07P5520 | 2025-09-30 | 65460UQ01 | 10x400 | 15 | Fridge1 | 2 | 10 cartridges per box
Validate | HA1C Calibrator (1 kit) | 08P4301 | 2025-10-26 | 67181UQ10 |  | 1 | Fridge1 | 4 | 1 kit
Alinity I | HAV Ab IgM Callibrator (1 kit) | 08P2801 | 2025-12-10 | 71067BE00 | 1 unit | 2 | Fridge2 | Drawer1 | 1 kit
Alinity I | HAVAb IgM Reagent Kit (100 reactions per cartridge) | 08P2821 | 2025-06-24 | 65640BE00 |  | 1 | Fridge2 | 3, Blue Tray | 2 cartridges per box
Alinity I | HAVAb IgM Reagent Kit (100 reactions per cartridge) | 08P2821 | 2025-09-18 | 68528BE00 |  | 1 | Fridge2 | 3, Blue Tray | 2 cartridges per box
Alinity C | HbA1C Reagent (260 reactions per cartridge) | 08P4320 | 2025-09-12 | 66794UQ06 | 5x260 | 8 | Fridge1 | 2 | 5 sets per box
Alinity I | HBs Ag Qual Calibrator (1 kit) | 08P1002 | 2025-08-28 | 72189FZ00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 kit
Alinity I | HBs Ag Qual Calibrator (1 kit) | 08P1141 | 2025-05-09 | 68274FZ00 |  | 1 | Fridge2 | Door | 1 kit
Alinity I | HIV Ag/Ab combo Calibrator (1 kit) | 08P0702 | 2025-10-02 | 72280BE00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 kit
Alinity I | HIV Ag/Ab Combo Controls (1 kit) | 08P0712 | 2025-11-13 | 73457BE00 |  | 1 | Fridge2 | Drawer2 | 1 kit
Alinity I | HIV Ag/Ab Combo Reagent Kit (100 reactions per cartridge) | 08P0721 | 2025-12-17 | 76072BE00 |  | 1 | Fridge2 | 3, Blue Tray | 2 cartridges per box
Validate | IBC Test Set | 203ro | 2025-06-27 | 10687231 |  | 5 | -22C
Alinity C | ICT Reference Solution (975 mL per bottle) | 08P76 | 2025-10-15 | 877UN24 | 975ml/bottle | 8 | Black Cabinet | 2
Alinity C | ICT Reference Solution Check Valve | 09D3503 |  |  | 1/pkg | 4 pkg | Black Cabinet | 4, box3
Alinity C | ICT Sample Diluent | 07P5320 | 2025-11-07 | 36129UN23 | 10 carts/ case | 5 | Glass Cabinet | 2 | 10 cartridges per box
Alinity I | ICT Serum Calibrator (2 calibrators per set) | 08P6901 | 2026-05-10 | 25047UN24 | 5x2.9 ml | 1 | Glass Cabinet | Top | 5 sets per box
Alinity I | ICT Serum Calibrator (2 calibrators per set) | 08P6901 | 2026-07-14 | 25047UN25 | 5x2.9 ml | 5 | Glass Cabinet | Top
Alinity I | Immunoessay for Abbot System | K833M-5 | 2025-07-13 | 07021 | 5/box | 15 | Fridge1 | 4
Triage | KOVA-TROL I High Abnormal with Urobilinogen | 87334 | 2026-06-30 | K306750-03 |  | 2 | Fridge1 | 3
Alinity C | KOVA-TROL III Normal with hCG | 87331 | 2025-12-31 | K306732-09 |  | 2 | Fridge1 | 3
Milli-Q | Large 2 Tube EDI Production Flow Adjust | ZF3000722 |  | F4BB08773 | 1/bag | 2 | Back Room
Milli-Q | Large 2 Tube EDI Reject Flow Adjust Assy | ZF3000712 |  | F4AB02677 | 1/bag | 2 | Back Room
Milli-Q | Large 2 Tube EDI Rejet Flow Adjust 5PSI | ZF3000723 |  | F3SB95535 | 1/bag | 2 | Back Room
Alinity I | Level Sensor Bulk Solution (1/pkg) | 04S6804 |  |  |  | 2 | Glass Cabinet | 3
Alinity I | Level Sensor Diluted Wash Buffer (1ml per vial) | 04S6902 |  |  |  | 2 | Glass Cabinet | 3
Alinity C | Lipid MC Calibrator | 09P1403 | 2026-12-28 | 3106CH | 6x1 ml | 9 | Fridge1 | 4 | 6 vials per box
Linearity FD | LP Test Set | 501ab | 2025-04-27 | 10693178 |  | 5 | Fridge1 | 4
WDF | Lysecll WDF (5 litre per bottle) | ZA900001 | 2026-02-20 | Y5008 | 5L | 1 | Black Cabinet | 5 | 1 unit
Alinity I | Maintenance Cleaning Cartridge (1 unit) | 02R5250 | 2045-12-31 | 73017MM00 | 2cart/box | 2 | Black Cabinet | 4 | 2 cartridge per box
Alinity I | Maintenance Solution (1 unit) | 08P9871 | 2026-03-03 | 67541UQ12 | 10 carts/case | 3 | Black Cabinet | 2 | 1 cartridges per box
Alinity I | Microalbumin Calibrators (1 kit) | 08P0404 | 2026-05-08 | 67143UD00 | one set (cal 1-5) | 1 | Fridge1 | 4 | 1 kit
Alinity C | Microalbumin Reagent (320 reactions per cartridge) | 08P0424 | 2026-04-11 | 66362UD00 | 2x320 | 1 | Fridge1 | 2 | 2 cartridges per box
Alinity C | Microalbumin Reagent (320 reactions per cartridge) | 08P0424 | 2026-11-08 | 73003UD00 | 2x320 | 2 | Fridge1 | 2 | 2 cartridges per box
Alinity C | Mixer (1/pkg) | 09D5904 |  | SZ70001008 | 2/pkg | 2 | Black Cabinet | 4, box1 | 2 units per box
Alinity C | Multichem A1C control Technopath (each vial) | 04V0610 | 2025-09-30 | A3210230 | 6 vials (1 ml each) | 7 | -80C |  | 6 vials per box
Technopath | Multichem IA Plus 1 (one unit) | 08P86-10 | 2024-12-31 | 037209220 |  | ? | -80C
Technopath | Multichem IA Plus 2 (one unit) | 08P86-10 | 2026-03-31 | 032411230 |  | 7 | -80C
Technopath | Multichem IA Plus 3 (one unit) | 08P86-10 | 2027-11-30 | 034012240 |  | 4 | -80C
Technopath | Multichem S Plus Control 1 (one unit) | 08P88-10 | 2025-05-31 | 0130112201 |  | 8 | -22C
Technopath | Multichem S Plus Control 1 | 08P88-10 | 2025-12-31 | 0135062301 |  | 20 | -80C
Technopath | Multichem S Plus Control 2 | 08P88-11 | 2025-05-31 | 0130112202 |  | 4 | -22C
Technopath | Multichem S Plus Control 2 | 08P88-11 | 2025-12-31 | 0135062302 |  | 12 | -80C
Technopath | Multichem S Plus Control 2 | 08P88-11 | 2028-03-30 | 0157042502 |  | 12 | -80C
Technopath | Multichem S Plus Control 3 | 08P88-12 | 2025-05-31 | 0130112203 |  | 5 | -22C
Technopath | Multichem S Plus Control 3 | 08P88-12 | 2025-12-31 | 0135062303 |  | 12 | -80C
Alinity C | Multichem S Plus Level 1 Control | 08P88-10 | 2025-05-31 | 130112201 | 12 VIALS PER BOX | 12 | -80C
Alinity I | Multichem S Plus Level 2 Control | 08P88-11 | 2025-05-31 | 130112202 | 12 VIALS PER BOX | 12 | -80C
Alinity C | Multichem S Plus Level 3 Control | 08P88-12 | 2025-05-31 | 130112203 | 12 VIALS PER BOX | 12 | -80C
Alinity C | Multiconstituent Calibrator (MC Cal) | 08P6001 | 2026-03-18 | 12362FD01 | 3x2.5 ml | 2 | Fridge1 | 4
Alinity C | Multiconstituent Calibrator (MC Cal) | 08P6001 | 2026-08-09 | 28939FD01 | 3x2.5 ml | 4 | Fridge1 | 4
McKesson | Nitrile Exam Gloves Powder Free Large (200 gloves per box) | 14-6978C |  | MKOD11-11 | 200 gloves/bo | 7 | ESR Bench Drawer
McKesson | Nitrile Exam Gloves Powder Free Medium (200gloves per box) | 14-6976C |  | MKOD11-11 | 200 gloves/bo | 9 | ESR Bench Drawer
Medline | Normal Saline (Sterile 0.9%), 100 mL per bottle | RDI30296 | 2026-11-11 | 24118720 | 100ml | 8 | Black Cabinet | 2
Alinity I | Pipettor Probes (one unit) | 03R9602 |  | FF512 | 2 per box | 3 | Black Cabinet | 4, box2 | 2 units per box
Alinity | Pre-Trigger Solution (975 mL per bottle) | 06P1270 | 2025-12-11 | 71404FZ00 | 975ml | 19 | Fridge2 | 2, Shelf
Milli-Q | Q-Gard XL-4 (one unit) | QGARDTXL04 |  | F4AB04907 | 1 unit | 1 | Back Room
Alinity I | Reagent Cartidge Black (Large) (1 unit) | 04S1750 | 2045-12-31 | 31317Y600 | 10 carts/case | 10 | Black Cabinet | 4 | 10 cartridges per box
Alinity I | Reagent Cartidge Clear (Large) (1 unit) | 04S1740 | 2045-12-31 | 61004MM00 | 10 carts/case | 19 | Black Cabinet | 4 | 10 cartridges per box
Alinity I | Reagent Cartidge Clear (Large) (1 unit) | 04S1740 | 2045-12-31 | 59042MM00 | 10 carts/case | 20 | Black Cabinet | 4 | 10 cartridges per box
Alinity C | Reagent Probe Tubing(1 unit) | 04S5001 |  |  |  | 1 | Black Cabinet | 4, box1
Alinity C | Reagent Replacement Caps, box (100 caps per box) | 04R4701 |  | CI44688 | 100/box | 200 | Black Cabinet | 4
Alinity C | Reagent Syinge O-Ring (1 unit per bag) | 09D5303 |  |  | 1 unit | 1 |  |  | 1 unit per bag
Alinity C | Reagent Syringe O-Ring (1 unit per bag) | 09D5303 |  |  |  | 20 pkg | Black Cabinet | 4, box3 | 1 unit per bag
Alinity C | Reagent Syringe Seal Tip 1 (one unit) | 09D3904 |  |  |  | 1 2 | Black Cabinet | 4, box3 | 3 units per bag
Alinity C | Reagent Syringe Seal Tip 2 (one unit) | 09D4004 |  |  |  | 12 | Black Cabinet | 4, box3 | 4 units per bag
Lab Guard Aptima | Reclosable Specimen Bags | 6095719 | 2026-11-30 | 911360 |  | 10 | ACC Drawer
Lab Guard Aptima | Reclosable Specimen Bags | 6095719 | 2027-03-31 | 918444 |  | 10 | ACC Drawer
Alinity C | Rheumatoid Factor Calibrator (1 kit) | 04S0002 | 2025-10-27 | 71715LP03 | cal 1-5 | 1 | Fridge1 | 4 | 1 kit
Arlington Scientific | RPR Card Test for Syphilis (1 kit) | 900025 | 2025-05-31 | 4K12R1 |  | 1 | Fridge2 | Door | 1 kit
Alinity C | Sample & Wash Solution Syringe ORing (1 unit) | 09D5203 |  |  | 1/pkg | 8 | Black Cabinet | 4, box3 | 1 unit per bag
Alinity C | Sample & Wash Solution Syringe Seal Tip 1 (1 unit) | 09D3704 |  |  | 2/pkg | 4 | Black Cabinet | 4, box3 | 2 units per bag
Alinity C | Sample & Wash Solution Syringe Seal Tip 2 (1 unit) | 09D3803 |  |  | 2/pkg | 8 | Black Cabinet | 4, box3 | 2 units per bag
Alinity C, I | Sample Cups (250 cups per bag) | 01R3801 |  | 000912018 | 250/bag | 4 | Back Room
Alinity C,I | Sample Cups (250 cups per bag) | 01R3801 |  | 861853 | 250/bag | 6 | ESR Bench Drawer
Alinity C | Sample Probe (1 unit) | 04S5101 |  | SZ70001001 | 1 unit | 1 | Black Cabinet | 4, box2
Alinity C, I | Sample Rack (1 unit) | 04R5203 |  |  | 10 per box | 10 | Glass Cabinet | 3 | 10 racks per box
Alinity C, I | SH Barcode Tool (1 unit) | 06E6902 |  |  |  | 2 | Black Cabinet | 4, box2
McKesson | Snap caps Double Thumb TAB Blue 12, 13, 16mm (1000 caps per bag) | 177-118115B |  | E112246-33-090824 | 1000/bag | 2 | Back Room | 1000 caps per box | 1000 caps per box
McKesson | Snap caps Double Thumb TAB Lavender 12, 13, 16mm (1000 caps per bag) | 177-118115L |  | D112177-37-090724 | 1000/bag | 1 | Back Room | 1000 caps per box | 1000 caps per box
Alinity C | Source Lamp (1/pkg) | 09D4503 |  |  |  | 3 | Black Cabinet | 4, box1
Sysmex | Sulfolyser (SLS) (1 unit) | SLS-240 | order |  |  | 1 | Black Cabinet
Alinity C | Syphilis TP Calibrator (1 unit) | 07P6001 | 2025-09-25 | 69221BE00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 unit
McKesson | Test Tube Polypropylene (PP) 12*75mm /5ml (1000 tubes per bag) | 177-110441 |  | C110830-09-082123 | 1000/bag | 3 | Back Room
McKesson | Test Tube Polypropylene (PP) 16*100mm /12ml (500 tubes per bag) | 177-111012 |  | D112246-16-093024 | 500/bag | 4 | Back Room
Alinity I | Testosterone calibrator (1 kit) | 07P6801 | 2025-07-15 | 12179UP00 | 2 units | 1 | Fridge2 | Drawer1 | 1 unit
Alinity I | Testosterone calibrator (1 kit) | 07P6801 | 2025-11-04 | 12241UP00 | 2 units | 1 | Fridge2 | Drawer1 | 1 unit
Alinity C | Testosterone Reagent Kit 2nd Generation (100 reactions per set) | 07P6821 | 2025-12-06 | 12328UP00 | 100 tests/cart | 3 | Fridge2 | 3, Blue Tray | 2 sets per box
Alinity I | Thyroid for Abbot System (1 unit) | K832M-5 | 2025-03-30 | 07006 | 5/box | 15 | Fridge1 | 4
Alinity C | Total Protein 2 reagent (200 reactions per cartridge) | 04T8130 | 2025-08-25 | 65281UD00 |  | 1 | Glass Cabinet | 2 | 4 cartridges per box
Alinity C | Total Protein 2 reagent (200 reactions per cartridge) | 04T8120 | 2025-12-30 | 69386UD00 | 4x200 tests | 4 | Glass Cabinet | 2 | 4 cartridges per box
Alinity I | Total PSA Calibrator (1 kit) | 07P9201 | 2025-09-06 | 68163FZ00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 kit
Alinity I | Total PSA Reagent Kit (100 reagents per cartridge) | 07O9221 | 2025-10-09 | 71714FZ00 |  | 4 | Fridge2 | 2, Blue Tray | 2 cartridges per box
Alinity I | Total T3 Cals (1 kit) | 07P9401 | 2025-08-06 | 67444UD00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 kit
Alinity C | Total T4 Cals (1 kit) | 07P9501 | 2025-07-16 | 66373UD00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 kit
Alinity C | Total T4 Cals (1 kit) | 07P9501 | 2025-07-27 | 70547UD00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 kit
Alinity C | Total T4 Reagent Kit (100 reactions per cartridge) | 07P9520 | 2025-11-04 | 70412UD00 | 100 tests/cart | 1 | Fridge2 | 2, Blue Tray | 2 cartridges per box
Alinity C | Tox Drug Screen ( 1 unit) | 94600 | 2026-02-28 | T155930N |  | 41 | Fridge1 | 3 | 1 unit
Triage | Tox Drug Screen Control1 (1 unit) | 94613 | 2026-01-21 | C4090AN |  | 2 | -22C |  | 1 unit
Triage | Tox Drug Screen Control1 (1 unit) | 94613 | 2026-04-09 | C4016AN |  | 2 | -22C |  | 1 unit
Triage | Tox Drug Screen Control2 (1 unit) | 94614 | 2026-01-23 | C4091AN |  | 4 | -22C |  | 1 unit
McKesson | Transfer Pipettors 7ml, 3ml Draw (500 pipettors per box) | 559 |  | CGDD09-07 | 500/box | 4 | Back Room
Kova | TRIG Reagent (400 reactions per cartridge) | 07P7720 | 2026-05-18 | 88038UN24 | 10x400 | 6 | Fridge1 | 2 | 10 cartridges per box
Alinity I | Trigger Solution (975 mL per bottle) | 06P1160 | 2025-09-25 | 63147FZ00 | 975ml/bottle | 3 | Black Cabinet | 3
Alinity I | Trigger Solution (975 mL per bottle) | 06P1160 | 2026-07-12 | 71637FZ00 | 975ml/bottle | 4 | Black Cabinet | 3
Alinity C | TSH Calibrator (1 unit) | 07P4801 | 2025-09-05 | 67160UD00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 unit
Alinity C | TSH Calibrator (1 unit) | 07P4801 | 2026-04-10 | 74310UD00 | 1 unit | 1 | Fridge2 | Drawer1 | 1 unit
Alinity I | TSH Reagent Kit (600 reactions per cartridge) | 07P4830 | 2026-05-04 | 70200UD00 | 600 test/cart | 2 | Fridge2 | 2, Blue Tray | 2 cartridge per box
Alinity I | TSH Reagent Kit (600 reactions per cartridge) | 07P4820 | 2026-06-17 | 71591UD00 |  | 1 | Fridge2 | 2, Shelf | 2 cartridge per box
Alinity I | TSH Reagent Kit (600 reactions per cartridge) | 07P4820 | 2026-08-24 | 73537UD00 |  | 2 | Fridge2 | 2, Shelf | 2 cartridge per box
Chek-Stik | UA Diptube Liquid QC (15 mL per bottle) | 11561694 | 2025-06-30 | S202432 |  | 6 | Fridge2 | Door | 6 bottles per box
Linearity FD | UC4 Test Set (1 set) | 704ab | 2025-06-01 | 10670357 |  | 5 | Fridge1 | 4
Alinity CI | Ultra HDL Reagent (350 reactions per cartridge) | 07P7520 | 2026-11-03 | 67328UQ11 | 4x350 | 4 | Fridge1 | 2 | 4 cartridges per box
Alinity C | Ultra HDL Reagent (350 reactions per cartridge) | 07P7520 | 2027-01-30 | 67911UQ01 | 4x350 | 4 | Fridge1 | 2 | 4 cartridges per box
Alinity C | Urea Nitrogen Reagent (400 reactions per cartridge) | 08P1620 | 2025-10-04 | 45875UN23 | 10x400 | 14 | Fridge1 | 2 | 10 cartridges per box
Kova | Uric Acid 2 reagent (160 reactions per cartridge) | 04U0920 | 2026-03-08 | 70513UD00 |  | 4 | Fridge1 | 2 | 4 cartridges per box
Alinity C, I | Vial Rack (1 unit) | 04S6402 |  |  | 5 per box | 9 | Glass Cabinet | 3 | 5 racks per box
Globe Scientific | Wash Bottle, Wide Mouth 500ml, LDPE, Round White Screw Cap (1 unit) | WGW236P |  | P48471 | 1 | 3 | ESR Bench Drawer |  | 1 unit
Alinity I | Wash Cup Baffle (1 unit) | 04S6202 |  |  |  | 3 | Black Cabinet | 4, box1 | 1 unit
Alinity I | 25-OH Vit D Reagent Kit | 08P4532 | 2025-08-02 | 64556UD01 | 500 tests/cart |  | 2-8*
Alinity I | Calcium Reagent (400 reactions per cartridge) | 07P5720 | 2025-08-20 | 93051UN23 | 10x400 tests | 9 | RT |  | 10 cartridges per box
Alinity C | RPR Card Test For Syphilis (1 unit) | 900025 | 2026-02-28 | 4E16R1 | 1 unit |  | 2-8* |  | 1 unit
Alinity C | Multichem IA Plus 1,2,3 Control (1 set) | 08P88-10 | 2026-03-31 | 32411230 | 4 VIALS each level | 4 | -80 |  | 4 sets per box
Alinity C | HIV Ag/Ab Combo Reagent Kit (600 reactions/cartridges ) | 08P0731 |  | 65378BE00 | 600 tests/cart |  | 2-8*
Alinity CI | Syphilis Ctrls (1 set) | 07P6010 |  | 62097BE00 | 1 unit |  | 2-8*
Alinity I | Alinity Reaction Vessles (500 vessels/ bag) | 06P1401 |  | 806455 | 500/bag |  | RT
Alinity C | Sample Probe (1/pkg | 04S5101
Alinity C | Sample Probe Tubing(1/pkg) | 01G4805
Alinity C | Reagent Probe (1/pkg) | 04S4901
Alinity C | Sample Probe Screw(1/pkg) | 04S5301
Alinity C | Reagent Probe Screw(1/pkg) | 04S5401
Alinity C | Integrated Chip Technology (ICT) Probe | 09D6304
Alinity C | ICT Module (1/pkg) | 09D2804
Alinity C | Level Sensor Bulk Solution(1/pkg) | 04S68-05
Alinity C | Wash Solution CheckValve (4/pkg) | 09D3403
Alinity C | Sample Wash SolutionHolder (1/pkg) | 04S7601
Alinity C | Quarterly MaintenanceKit (1 /pkg | 04S46-01
Alinity I | Pipettor Probes (2/pkg) | 03R9601
Alinity I | Wash Zone Probe (1/pkg) | 08C9436
CLINITEK | Multistix 10SG Reagent Strips for Urinalysis | 2161